|  |
| --- |
| **Performance Criteria - Procedure** |
| 1. Use of the menu as part of the user interface
 |
| 1. Setting date and time
 |
| 1. Sleep mode procedures
 |
| 1. Loading a transducer correctly into the device
 |
| 1. Loading a chemical indicator disc
 |
| 1. Commencing disinfection cycle
 |
| 1. Removing transducer and storage of clean transducer
 |
| 1. Handling and storage of the hyrdogen peroxide
 |
| 1. Understanding how to change an empty cartridge
 |
| 1. Recognises a chemical indicator disc has passed
 |
| 1. What to do if a cycle fails
 |
| 1. Locates the cycle and Trophon™ unit number
 |
| 1. Record the pass cycle and tranducer number on the tracking stickers
 |
| 1. Use of PPE as required
 |
| 1. Purging of the device (if appropriate)
 |
| 1. Location and emptying if the waste drawer
 |
| 1. Where to place the tracking stickers
 |
| 1. Moving the Trophon™
 |
| 1. Identification of correct storage and tracking principles
 |
| 1. Identification of clean and dirty probes
 |